## Sheet1
		PLsi	AutomationDirect CLICK	Siemens LOGO!
		Hardware v0	Standard PLC	6ED10521FB080BA1
		Firmware v0.00.01	C0-01DR-D	LOGO! 230RCE
Price		$ 20 (*1)	$117	$175
Open Source & Open Hardware		Yes	No	No
Program Memory		12K steps	8K Steps	400 blocks
Typical Scan (2K Boolean)		2.3ms	2.6ms	About 6ms for 100 blocks
Boolean Execution time		200ns	600ns	-
Industrial Language		Ladder	Ladder	Blocks
Instructions Set		29	21	30
PLC programs		4	1	1
Internal Relays		4	1	1
PLC programs		4	1	1
Run Time Program Edition		Yes	No	No
Display		Color & Touch Screen	No	Monochrome
HMI Functions		Yes	No	No
Digital Inputs		8	8	8
Inputs Opto-Isolated		Yes	Yes	No
Digital Relay Outputs		6	6	4
Communication Ports		Wi-Fi	2x RS-232 + 1x RS-485	Ethernet
Supported Protocols		No (*2)	Modbus	Modbus
PC Software		No (*3)	Yes	Yes
Clock/Calendar		No (*4)	Yes	Yes
Expandable I/O		No (*5)	Yes	Yes
SD card expansion		Yes	No	No
Web Server/Data Logger		No (*6)	No	Yes
Removable Terminal Block		Yes	Yes	No
Firmware Update		Yes – Web Page	Yes – PC Wired	Yes – Memory Card
Supply Voltage		5V USB	24 VDC	120/230 VAC